

Product list

|  |  |  |  |
| --- | --- | --- | --- |
| Title | Product type | Length, mm | Complete set |
| ETS.A-1000P | Analog sensor | 1000 | connection cable 3p, 7m, mounting kit |
| ETS.A-1500P | Analog sensor | 1500 | connection cable 3p, 7m, mounting kit |
| ETS.F-1000P | Frequency sensor | 1000 | connection cable 3p, 7m, mounting kit |
| ETS.F-1500P | Frequency sensor | 1500 | connection cable 3p, 7m, mounting kit |
| ETS.RS485-1000P | Interface sensor | 1000 | connection cable 4p, 7m, mounting kit |
| ETS.RS485-1500P | Interface sensor | 1500 | connection cable 4p, 7m, mounting kit |
| ETS.A-3000М.2 | Composite analog sensor | 3000 | Composite sensor 1.5m, extension pipe 1.5m, connection cable 3p, 7m, mounting kit |
| ETS.F-3000М.2 | Composite frequency sensor | 3000 | Composite sensor 1.5m, extension pipe 1.5m, connection cable 3p, 7m, mounting kit |
| ETS.RS485-3000М.2 | Composite interface sensor | 3000 | Composite sensor 1.5m, extension pipe 1.5m, connection cable 4p, 7m, mounting kit |
| Adapter ETS.USA | Accessory |   | USB adapter for configuring and diagnostics |
| ETS cable 3p | Accessory |   | 7m connection cable for analog or frequency sensor |
| ETS cable 4p | Accessory |   | 7m connection cable for RS485 sensor |
| Gasket | Accessory |   | Rubber gasket |
| Extension-1500 | Accessory | 1500 | pipe and mounting ring for composite sensor |

|  |  |  |
| --- | --- | --- |
| Metrotec OÜ | Telefon: 6 274 730 | IBAN: EE462200221001136257 |
| Haljas tee 25 | e-post: info@metrotec.ee | KMK nr: EE100427664 |
| 12012 Tallinn | [http://www.metrotec.ee](http://www.metrotec.ee/) | Reg. Nr. 10461191 |